## DGR Report
DGR Generated for: 02-Oct-2025 to 02-Oct-2025
| Name: | Imagicaaworld Entertainment Ltd
| Capacity: | AC 5.5 MW / DC 8.0 MW Solar PV Project
| Site Name: | Tuljapur Site
| Comm. Date: | 30 Jul 2024
Date | Control Room No. | Inverter No. | Daily Generation (KW) | Monthly Generation (KW) | Yearly Generation (KW) | Daily PLF (%) | Monthly PLF (%) | Yearly PLF (%) | Generation Hrs. HR:MM | U (Unsheduled) HR:MM | S (Scheduled) HR:MM | F.M (Force Measures) HR:MM | GF (Grid Fault) HR:MM | Grid OK Hrs.(6 am to 7 pm) HR:MM | Total Grid Hrs. | Plant Availability (%) | Grid Availability (%) | Remarks of the day | Avg Tilted radiation in KWH/Mtr.Sq
02-Oct-25 | LT Panel 1 | Inverter No-1 | 1959.3 | 0 | 0 | 26.59% | 0% | [11 empty] | 2.8058
02-Oct-25 | LT Panel 1 | Inverter No-2 | 1850.9 | 0 | 0 | 25.12% | 0% | [11 empty] | 2.8058
02-Oct-25 | LT Panel 1 | Inverter No-3 | 1980.6 | 0 | 0 | 26.88% | 0% | [11 empty] | 2.8058
02-Oct-25 | LT Panel 1 | Inverter No-4 | 1970.4 | 0 | 0 | 26.74% | 0% | [11 empty] | 2.8058
02-Oct-25 | LT Panel 1 | Inverter No-5 | 1961.9 | 0 | 0 | 26.63% | 0% | [11 empty] | 2.8058
02-Oct-25 | LT Panel 1 | Inverter No-6 | 1957.3 | 0 | 0 | 26.56% | 0% | [11 empty] | 2.8058
02-Oct-25 | LT Panel 1 | Inverter No-7 | 2014 | 0 | 0 | 27.33% | 0% | [11 empty] | 2.8058
02-Oct-25 | LT Panel 1 | Inverter No-8 | 1903.6 | 0 | 0 | 25.84% | 0% | [11 empty] | 2.8058
02-Oct-25 | LT Panel 1 | Inverter No-9 | 1985.7 | 0 | 0 | 26.95% | 0% | [11 empty] | 2.8058
02-Oct-25 | LT Panel 2 | Inverter No-10 | 2004.1 | 0 | 0 | 27.2% | 0% | [11 empty] | 2.8058
02-Oct-25 | LT Panel 2 | Inverter No-11 | 1960.8 | 0 | 0 | 26.61% | 0% | [11 empty] | 2.8058
02-Oct-25 | LT Panel 2 | Inverter No-12 | 2011 | 0 | 0 | 27.29% | 0% | [11 empty] | 2.8058
02-Oct-25 | LT Panel 2 | Inverter No-13 | 1963.9 | 0 | 0 | 26.65% | 0% | [11 empty] | 2.8058
02-Oct-25 | LT Panel 2 | Inverter No-14 | 2015.5 | 0 | 0 | 27.35% | 0% | [11 empty] | 2.8058
02-Oct-25 | LT Panel 2 | Inverter No-15 | 2009.3 | 0 | 0 | 27.27% | 0% | [11 empty] | 2.8058
02-Oct-25 | LT Panel 2 | Inverter No-16 | 2008.2 | 0 | 0 | 27.26% | 0% | [11 empty] | 2.8058
02-Oct-25 | LT Panel 2 | Inverter No-17 | 1850.2 | 0 | 0 | 25.11% | 0% | [11 empty] | 2.8058
02-Oct-25 | LT Panel 2 | Inverter No-18 | 2007.5 | 0 | 0 | 27.25% | 0% | [11 empty] | 2.8058