## DGR Report
DGR Generated for: 17-Sep-2025 to 17-Sep-2025
| Name: | Imagicaaworld Entertainment Ltd
| Capacity: | AC 5.5 MW / DC 8.0 MW Solar PV Project
| Site Name: | Tuljapur Site
| Comm. Date: | 30 Jul 2024
Date | Control Room No. | Inverter No. | Daily Generation (KW) | Monthly Generation (KW) | Yearly Generation (KW) | Daily PLF (%) | Monthly PLF (%) | Yearly PLF (%) | Generation Hrs. HR:MM | U (Unsheduled) HR:MM | S (Scheduled) HR:MM | F.M (Force Measures) HR:MM | GF (Grid Fault) HR:MM | Grid OK Hrs.(6 am to 7 pm) HR:MM | Total Grid Hrs. | Plant Availability (%) | Grid Availability (%) | Remarks of the day | Avg Tilted radiation in KWH/Mtr.Sq
2025-09-17 | LT Panel 1 | Inverter No-1 | 1458.7 | 0 | 0 | 19.8% | 0% | [11 empty] | 5.606
2025-09-17 | LT Panel 1 | Inverter No-2 | 1274.7 | 0 | 0 | 17.3% | 0% | [11 empty] | 5.606
2025-09-17 | LT Panel 1 | Inverter No-3 | 1469.3 | 0 | 0 | 19.94% | 0% | [11 empty] | 5.606
2025-09-17 | LT Panel 1 | Inverter No-4 | 1454.3 | 0 | 0 | 19.74% | 0% | [11 empty] | 5.606
2025-09-17 | LT Panel 1 | Inverter No-5 | 1456.5 | 0 | 0 | 19.77% | 0% | [11 empty] | 5.606
2025-09-17 | LT Panel 1 | Inverter No-6 | 1447.3 | 0 | 0 | 19.64% | 0% | [11 empty] | 5.606
2025-09-17 | LT Panel 1 | Inverter No-7 | 1453.6 | 0 | 0 | 19.73% | 0% | [11 empty] | 5.606
2025-09-17 | LT Panel 1 | Inverter No-8 | 1330.3 | 0 | 0 | 18.06% | 0% | [11 empty] | 5.606
2025-09-17 | LT Panel 1 | Inverter No-9 | 1448.1 | 0 | 0 | 19.65% | 0% | [11 empty] | 5.606
2025-09-17 | LT Panel 2 | Inverter No-10 | 1442.9 | 0 | 0 | 19.58% | 0% | [11 empty] | 5.606
2025-09-17 | LT Panel 2 | Inverter No-11 | 1450.8 | 0 | 0 | 19.69% | 0% | [11 empty] | 5.606
2025-09-17 | LT Panel 2 | Inverter No-12 | 1447.8 | 0 | 0 | 19.65% | 0% | [11 empty] | 5.606
2025-09-17 | LT Panel 2 | Inverter No-13 | 1444.6 | 0 | 0 | 19.61% | 0% | [11 empty] | 5.606
2025-09-17 | LT Panel 2 | Inverter No-14 | 1450.6 | 0 | 0 | 19.69% | 0% | [11 empty] | 5.606
2025-09-17 | LT Panel 2 | Inverter No-15 | 1456.8 | 0 | 0 | 19.77% | 0% | [11 empty] | 5.606
2025-09-17 | LT Panel 2 | Inverter No-16 | 1453.6 | 0 | 0 | 19.73% | 0% | [11 empty] | 5.606
2025-09-17 | LT Panel 2 | Inverter No-17 | 1293.6 | 0 | 0 | 17.56% | 0% | [11 empty] | 5.606
2025-09-17 | LT Panel 2 | Inverter No-18 | 1454.2 | 0 | 0 | 19.74% | 0% | [11 empty] | 5.606